GOVERNMENT OF TAMILNADU

TAMIL NADU FIRE & RESCUE SERVICES DEPARTMENT

OPEN  TENDER : 03 OF 2020-21

TOP SHEET

Tenders are invited from the manufacturer or an authorized distributor/dealer of the manufacturer for supply of the following items as per the specification given in the tender document:-

| Sl. no. | Name of the item | Quantity | EMD |
| --- | --- | --- | --- |
| 1 | Heavy duty dewatering pumps | 6 | 48,000 |

Other details:

| 1. | Address for Communication | Office of the Director, Fire & Rescue Serivices, 17, Rukumani Lakshimipathi Salai, Egmore, Chennai 600 008, Tamil Nadu. |
| --- | --- | --- |
| 2. | Supply of Tender Document | For Down Loading : Tender Document shall be down loaded free of cost at the Department’s Website. Tender cost to obtain in person: Rs.590/- ( inclusive of GST) By Registered Post: Rs.690/- (inclusive of GST+Postal charges) |
| Note: The tender documents can be accessed from http://www.tnfrs.tn.nic.in and the same can be down loaded free of cost from the web site. The vendors who have downloaded the tender documents from the departmental website must intimate the same through the following email addresses ddhq.tnfrs@gov.in, asupt.tnfrs@gov.in so that any changes can be intimated. Otherwise, it will be considered that the vendor is doing it at his/her own risk. |  |  |
| 3. | Earnest Money Deposit – Mode of Payment. | EMD amount as mentioned above may be furnished as Demand Draft or specified small savings instruments of Fixed Deposit or Bank guarantee from a Nationalized Bank in favour of the Director, Fire & Rescue Services Department, Chennai |
| 4. | Last date and time for submission of the tender | 09.02.2021 at 14.00 hours. |
| 5. | Date, Time and Place of Opening of the tender. | 09.02.2021 at 14.30 – 15.00 hours at the address mentioned above |

| 6. | Specifications | Furnished in the tender document. Questionnaires have been made as a part of the specification. Answers to be furnished by the tenderer about their offers. |
| --- | --- | --- |
| 7. | Intimation of changes | Addendum or changes/amendments if any proposed to be issued will be put up in the web-site from http://www.tnfrs.tn.nic.in. Hence, it is the responsibility of the tenderer to go through the website before submission of their tender. |
| 8. | Type of Tender | TWO COVER SYSTEM - Technical Bid with EMD - Price Bid |
| 9. | Name and address of the party to whom the tender documents sold in person or by post. |  |

| Signature of the Tenderer/s with Date and Seal | Signature of the Tender inviting authority (not necessary if downloaded from the website) |
| --- | --- |

Note: Each page of the tender form should be signed and to be attached with the tender document.

#### IMPORTANT INSTRUCTIONS TO THE VENDORS

- (a). The vendor shall be the manufacturer of the item/items offered or an authorized distributor/dealer of the manufacturer.

(b) In case he / she is an authorized distributor/ dealer, he / she shall produce along with the tender-offer a certificate of specific authorization from the original equipment manufacturer.

2. (a) EMD to be furnished in the form of  Demand Draft or Fixed Deposit or  Bank Guarantee from any Nationalized Bank in the name of “Director, Fire and Rescue Services, Tamil Nadu”.

(b) Please note that exemption from payment of EMD under SSI and NSIC   certificates is allowed only if products quoted are covered for manufacturing by the tenderer himself as per the schedules approved by the SSI/NSIC in their certificates issued to the tenderer. If exemption from EMD is sought for, proof of exemption certificate from the  payment of EMD and an undertaking in lieu of EMD should be produced along with sealed tenders, subject to verification from the authorities concerned.

- The inspection of the goods proposed to be delivered will be made  by the officers nominated by Director of Fire and Rescue Services. Hence, if the inspection of goods is proposed to be arranged at manufacturer’s site or any other place than this Department Headquarters at Egmore, the charges for deputing the departmental officers should be borne by the tenderer at his cost.  In view of the above, duly taking into account the above aspects, the price bid furnished by the tenderer should contain the break up details of basic price, GST, freight charges for delivery and such other levies.

- The Tamil Nadu Transparency in Tender’s Act 1998 and Tamil Nadu Transparency in Tenders Rules 2000 as amended from time to time are applicable for the Tender.

5. Mode of submission of tender offer:

(a) Sealed tenders containing:

(i) Technical bid in a separate sealed cover which may be named as “Envelope-A” containing technical details, commercial terms along with a list of the enclosures such as  proof in respect of manufacturer or the authorization letter from the manufacturer, latest local tax clearance certificate if any applicable to the country/origin along with EMD;

and

(ii)  Separate price bid as “Envelope-B” in a sealed cover in the format

prescribed in  the tender form

will be received for and on behalf of the   Tamil Nadu Fire and Rescue Services Department so as to reach on or before the due date prescribed.

(c) The tenderer has the option of sending the offer by Registered Post A/D or by speed post or by Courier  or by air mail for overseas delivery  before the date and time fixed.

(d) Delivery of tender in person will not be accepted on any account and the tender submitted after the last date and time will not be accepted under any circumstances.

(e) The tenderers who could not send their tender by post can put the tender in the Tender Box kept for this purpose at the above mentioned address before the date and time fixed. The slit of the tender box shall be 28 cmx 3 cm and therefore, the cover should be brought of suitable size to move inside the slit.

(f) Any relaxation in the mode of submission of tender will be considered only by the DFRS and his discretion will be final.

Method of submitting price bids:

6. While giving the Price bid, the price details like basic rate (i.e. the rate without taxes and duties) along with separate details of GST, Custom duty, freight charges, Octroi, insurance for delivery, such other levies and delivery charges  that may be applicable must be quoted in the format enclosed.  The total of all these must be separately indicated as NET RATE. Rates should be shown distinctly in words as well as figures. In case of a discrepancy between the rate in words and figures, the lower of the two shall be taken.  If any discount offered by the tenderer, it should be furnished in the Price bid format.

7. The rate shall be valid for 180 days from the date of opening of the tenders.

-0-

Check list for the tenderers in furnishing the tender document:

Envelope A: Technical Bid with EMD

This sealed envelope should contain the following:

- Attach EMD  or exemption proof valid as stated in important instructions to tenderers

- Attach authorization letter obtained from the Original Equipment Manufacturer if you are offering the item  as authorized distributor/dealer of the manufacturer.

- Attach Technical bid of the offers quoted with Catalogues, Xerox copies of Certificates relevant standard mentioned in the specification and Test Certificates duly  self- attested.

- Attach a Xerox copy of previous supply orders with proof of supply to various organizations during the last 5 years duly self- attested.

- Attach  General Questionnaire form given in the tender form duly filled and signed

- Attach Specific Questionnaire form given in the tender for each one of the items tendered on technical aspects and other criteria

- Attach the “Undertaking for Execution of Contract” in the form prescribed in the tender document.

- Attach  a copy of GST Registration Certificate, PAN Registration and I.T. Returns filed for the last 3 years

- Attach copy of proofs for payment of GST from 1.4.2019 to 31.3.2020

- Attach the tender form duly signed with seal in each page by the authorized person for having noted the contents.

Envelope B: PRICE BID

This sealed envelope should contain only Price bids  in the format prescribed in the Tender.  All columns should be filled and to be signed with seal by the authorized person.

If different models are quoted, Price bid cover should contain the rates for each model separately in a sealed cover.

OUTER COVER

The outer cover should contain the Sealed Envelopes “A “and “B” and the following address must be written on it:

Deputy Director – Administration,

Tender Inviting Authority,

O/o. the Director, Fire and Rescue Services Department,

17, Rukmani Lakshmipathy Road, Egmore, Chennai-600008,

Tamil Nadu.

The outer cover shall also be sealed and superscribed as “Tender offer for Heavy Duty Dewatering Pump”

Technical specification for Heavy duty dewatering pump

Supply of Diesel Driven Pump set comprising of:  ‘MAHINDRA’ or equivalent make model, Water cooled, Three cylinders, Diesel  Engine with  Rated Power of not less than 35  HP (25.7 kW) at 1500 RPM  coupled with ‘KIRLOSKAR’ or equivalent  make model, Self Priming , Non-clogging type pump having 1500 RPM and discharge capacity of  2.5 Lakhs  Ltrs/hour at a total head of 15 mtrs .   The entire assembly  is mounted on a 2 wheel trolley as per the  specification furnished.

| (1) | Fuel | Diesel driven |
| --- | --- | --- |
| (2) | Horse Power | Rated Power (Gross) 35 HP (25.7 kW) @ 1500 RPM |
| (3) | Discharge capacity | A minimum of 2.5lakhs litres per hour |
| (4) | Suction size | 6” |
| (5) | Delivery size | 6” |
| (6) | Total Head in mtrs | Not less than 15 mtrs |
| (7) | Suction head in mtrs | Not less than 5 mtrs |
| (8) | Weight of the Pump | Not more than1.20 tons |
| (9) | Dimension(L X W X H) | Approx. 2 x 1.5 x 1.5 |
| (10) | Trolley | shall be supplied along with pump as per the specification given below separately |

Features:

- Efficiency of the pump offered shall be at par with internationally available pumps.

- The Impeller of the Pump shall be Non- clogging to handle suspended solids and is made up of durable material.

- The Pump shall be Portable and easy to transport, when fitted on trolley.

- The Engine shall be suitable to get the maximum efficiency from the impeller.

- The provision of foot valve not necessary, since it is self-priming.  However a strainer with the pump shall be provided.

- Dynamically balanced rotating parts to ensure minimum vibrations.

- Easy maintenance and spares availability: The pump shall be of easy maintenance the spare parts easily available.

- The pump shaft shall be of carbon steel and shaft sleeve is bronze.

- Good quality raw material is used to facilitate longer life with high efficiency.

- The pump is shall be provided with triple delivery outlets with gate valves. It shall  be designed to connect 2.5 inch hoses.

Construction of Pump materials:

(1)  Impellor of the pump  shall be made up of durable material.

(2) Delivery casing  shall be made with cast Iron and shaft  is  made up of carbon

steel and shaft sleeve is  bronze.

Direction of Rotation:

Direction of Rotation is clockwise viewed from suction side.

Each pump set is mounted on a Two wheel  as per specification below:

(i) Trolley shall constructed with steel channels with strength compatible to carry the  pump weight.

(ii) Dimension of the Trolley: Approximate: 8 feet x 4feet

(iii) It shall be mounted on the axis with two tyres size (600 x 16) for easy movement of the trolley

(iv)  It shall be provided with 3 stays made of Iron Rod.

(v)  It shall have the provision of Eye for Toeing with a fire vehicle.

(vi)  It shall have the provision of hose boxes on both sides.

(vii) It shall have the provision of a channel for keeping two length of Suction  hoses each 15feet.

(viii) It shall have the provision for manual pulling bars.

Other requirement

Pump and engine shall covered with proper Tin Sheet roof and is detachable

ACCESSORIES:

Suction hose ……………………….. 6mtr

Delivery hose ……………………… 15 mtr

Necessary Coupling and Collar shall be provided with the pump set.

Certifications:

The seller shall supply the relevant documents to the conformity of the technical specifications  from the OEM of engine and pump manufacturers.

Warranty & service

The seller shall give warranty for a period of not less than two years to the entire pump set with all accessories. Also the the supplier shall give assurance to the supply of spare parts for a period of not less than five years.

Criteria for Evaluation of Tenders

- This is a two-bid tender consisting of :

- Technical bid with EMD and

- Price bid

- Technical bid which may be named as “Envelope-A” should contain the technical details of the items offered, commercial terms and conditions along with a list of the enclosures such as proof in respect of manufacturer or the authorisation letter from the manufacturer, latest local tax clearance certificate if any applicable to the country/origin along with EMD.

- Price bid, which should be furnished separately as “Envelop – B” in the format prescribed in the tender form in a sealed cover, and the same will be opened only after evaluation of the technical bid,

- If more than one model is offered, the rate quoted only in respect of the model qualified for selection as per the criteria laid down for evaluation alone will be taken into consideration.  Hence, separate price bid covers may be furnished for each model if more than one model is offered.

- If at any stage, a technical flaw is noticed in following the procedure, the procuring entity will take appropriate decisions and reserve the rights to relax or waive or modify at his discretion any of the condition in the interest of the Department so as to ensure that the overall objective of procurement is not defeated.

- The evaluation of the tender offers will be done in three stages. The rules laid down in Tamil Nadu Transparency of Tenders Act, 1998 and Tamil Nadu Transparency in Tenders Rules, 2000 as amended from time to time and other related rules will be scrupulously followed.

Stage I : Rejection of tender offer found technically defective :

- Only the tender document supplied by this Office or the tender documents which were downloaded from the department’s website at free of cost should be used and it should be resubmitted in full shape without detaching any page from it.

- (i) Each page of the tender document, including technical specifications should be duly signed for having noted the contents of the tender document.  Tenders in any forms other than the forms and schedules issued by the department to the tenderer will not considered  and will be rejected as non-responsive.

(ii) Further, the tenderers are requested to put the page number to the tender documents serially including all enclosures while submitting their tender.

- (i) Those who do not submit the EMD, as defined in this tender document, along with the tender (unless the vendor is exempted by a specific rule provision for which documents must be submitted along with the tender to prove that the firm is exempted for this particular item) will not be considered.

(ii) In case of partial amount of EMD, the tender will be rejected straightaway       and the offer will not be considered.  In cases where exemption is sought, a       plea for producing the exemption documents later will not be accepted.

- EMD submitted in a manner other than that specified in the tender document  will be considered as not submitted and the tender will be rejected.

- (i) A vendor who does not answer all the questions in questionnaire will not be considered. Only those offers will be considered in which all questions in the questionnaire have been answered.

- Oversight will not be taken as a reason for not answering a question.  It is presumed that a vendor trying for a deal about equipment related with               life saving would show adequate seriousness about furnishing details about the product offered by him or not.

- While supplying information in response to the questionnaire answers such as “will be supplied later” or “will be informed later” will not be accepted.  Such answers will lead to the conclusion that the vendor is either not an authorised dealer of the said company or is not serious about the deal.

Stage 2 (Evaluation of Essential Features as per specifications in the tender form):

| 1. | If the tenderer is a manufacturer, attach a proof for the same |
| --- | --- |
| 2. | If the tenderer is not a manufacturer, the offer which is not accompanied with a xeroxed copy of an authorization letter from the manufacturer or some other incontrovertible proof that the vendor is an authorised distributor / dealer of the manufacturer, will be rejected. |
| 3. | An offer, which is not accompanied with a certificate of approval of the standard by the competent authority in respect of the product offered, will be rejected. |
| 4. | The answers given by the tenderer to the questionnaire will be taken into account for verification whether the offer made by the tenderer satisfy the specification and other requirements. |
| 5. | An offer which does not meet out the detailed specifications will be rejected. |
|  | However, the procuring entity will take appropriate decision and reserve the rights to relax or waive or modify at his discretion any of the condition / specification in the interest of the Department, so as to ensure that the overall objective of procurement is not defeated. 6. Previous Experience criteria: Attach proof for supply of similar item/items to any Government Department/Organizations during the last 3 years. P.O.Copy and Invoice copy and Performance Certificate if any to be attached towards proof for the supply. |

Stage 3 : Selection of the suitable tenders :

The offers that are not rejected during stage 2 above, the technical bids will be further evaluated and finalised based on verification of the sample and the technical details given in the tender document.

Verification /Demonstration of sample

- Sample produced by the tenderers will be verified / tested by the Committee on the date to be specified by the Department in the presence of representative of the concerned tenderer.

- It is the responsibility of the tenderer to keep one sample in readiness at their end and as and when the date and time for verification is fixed and  informed to the tenderer, the same should be produced before  the Committee without fail for verification. Only if any changes in the date and time  fixed for  production of sample, the same will be intimated through proper mode. Further, production of such a sample will, however, be no indication that the items are going to be procured from the vendor.

- In case, any vendor fails to produce the sample on the date fixed without proper reason, it will be presumed that he is unable to produce the sample and his offer will be rejected.  However, the DF&RS or the Committee consider that if the reasons stated by the vendor are reasonable, give more time for production of the sample.

- While evaluation the tender, or after seeing the sample, additional details, if any required may be called for from the tenderers for which a message will be despatched to him through proper mode.  Hence, it is the responsibility of the tenderer to furnish the additional particulars as and when called for.  Furnishing of such additional details will, however, be no indication that it is going to be accepted.  In case, any vendor fails to furnish the details called for within the stipulated time,            it will be presumed that he is unable to furnish the details and not interested in his offer and his offer will be rejected.

- While evaluating the technical bids if any one of the tendered equipment does not suit the tender conditions as laid down in technical specifications, the DF&RS reserves the right.:

- To relax or waive or modify at his discretion any of the condition/specification in respect of the equipment in question in the interest of the Department

(or)

- To reject  all the tenders in respect of the equipment in question without assigning any reasons whatsoever and to suitably modify the numbers to be brought among the selected one of other tendered items to suit our requirement.

Price Bid Opening

- The Price bid should be furnished in the format given in the tender form in a sealed cover as indicated in the tender for each iteml separately.  While giving the Price Bid, the price details like basic rate (i.e. the rate without taxes and duties) along with separate details of GST, Customs Duty, Excise Duty, Freight charges, Octroi, Insurance for delivery and such other levies that may  be applicable must be quoted in the format enclosed.

- The Vendors whose offers have been found to be suitable for the use of this department based on the above evaluation criteria mentioned under stage 3 above  alone will  be called for opening of their price bid at a later date and time fixed by the department which will be intimated to the tender after the technical evaluation of the tender is completed.

- The Price Bid will be evaluated as per the criteria laid down in Tamil Nadu Transparency in Tender Rules 2000 and as amended.

Questionnaire to be filled by the Tenderer :

Note :

- Kindly give to the point and specific answers on a paper or letter head of your Company and put your signatures and seal at the end. In case you use more than one paper or letterhead, please sign and put seal on each page.

- Information given on unsigned papers or letterhead will not be taken into account

- The vendor if he wishes, may, apart from the answers to the questionnaire enclose brochures and leaflets.  However, the information on any pamphlets or brochures submitted by the vendor may be used for corroboration and cross-checking of the information supplied by him or her in answer to the questionnaire but may not be used unless this information is provided in a singed answer-sheet carrying the seal.

- It will be presumed that a vendor who does not answer the questions in this questionnaire is either hiding the information or is not serious about selling his product to the Department.

General Questionnaire

(To be furnished in Letter Head and to be attached with Technical bid )

| Sl.no | Details required |
| --- | --- |
| General Questionnaire |  |
| 1 | The name, address and the e-mail address of the Company. The contact person’s designation, phone number and mobile number |
| 2 | Are you Manufacturer for the offered item or items? If so furnish the details of proof and attach a copy of the same duly self attested |
| 3 | Are you an authorized distributor/dealer of the Manufacturer of the products offered? If so, attach a copy of authorization obtained from the manufacturer |
| 4 | Please note that the orders issued under Rule no.144 (xi) of General Financial Rules (GFRs) 2017 relating to restrictions on procurement from a bidder of a Country which shares a land border with India shall be applicable for this tender as per the guidelines issued by the Government of Tamil Nadu vide G.O.Ms.no.343 Finance (Salaries) Department Dated 18.09.2020. Hence, you are requested to undertake that you are not a bidder for restrictions from procurement from you as per the above rules condition. If any false declaration and non-compliance of this would be a ground for rejection of their tender |
| 4 | Have you ever been banned by any organizations, if so give furnish the details and attach a copy of the same. |
| 5 | Furnish your GST Registration Number and PAN and attach a copy of the same duly self attested. |

Questionnaire on technical aspects on Heavy Duty Dewatering Pump and other criteria

(To be furnished in Letter Head and to be attached with Technical bid)

| (1) | Make and model of the offered item |
| --- | --- |
| 2 | Please mention the standard under which the offered item is covered |
| 3 | Whether you have a valid certification obtained from the notified body for meeting the standard given for the offered item and if so attach a copy of the same |
| 4 | General description |
|  | (i) Mention the Fuel type |
|  | (ii) Whether it is water cooled |
|  | (iii) No. of cylinders |
|  | (iv) Mention the Horse Power @ 1500 RPM |
|  | (v) Whether the Diesel Engine is Kirloskar make or any other make equivalent. If not Kirloskar make, please mention the equivalent make name |
|  | (vi) Whether it is self-priming and non-clogging type pump having 1500 RPM |
|  | (vii) What is the discharge capacity at a total head of 15 mts and suction head of not less than 15 mts |
|  | (viii) Whether Suction and Delivery size are 6”. If not reason for the deviation |
|  | (ix) What is the weight of the Pump. If it is more than 1.20 tons reason for the deviation |
|  | (x) Whether the offered item is having the required Dimension (L x W xH ) of approx... 2 x 1.5 x 1.5. It it is differ reason for the deviation |
| 5. | Please mention about the offered item with reference to compliance on the features mentioned in the tender specification |
| 6 | Construction of Pump materials |
|  | (i)Whether the impellor of the pump is made up with durable material |
|  | (ii)Whether the Delivery casing is made with cast Iron and shaft is made up of carbon steel and shaft sleeve is bronze. If not, the reason for the deviation |
| 7 | Whether direction of Rotation can be clockwise viewed from suction side |

| 8 | Compliance on requirement of Trolley |
| --- | --- |
|  | (i) Whether the trolly is constructed with steel channels with strength compatible to carry the pump weight. If not reason for the same |
|  | (ii)Whether Trolly shall have the dimension of 8 feet x 4 feet ( 14approx.) If not the reason for the deviation |
|  | (iii) Whether It shall be mounted on the axis with two tyres size (600 x 16) for easy movement of the trolley. If there is any deviation, please mention the same |
|  | (iv) Whether it will be provided with 3 stays made of Iron Rod |
|  | (v) Whether it is having the provision of Eye for Toeing with a fire vehicle. |
|  | (vi) Whether it is having the provision of hose boxes on both sides |
|  | (vii) Whether it is having the provision of a channel for keeping two length of Suction hoses each 15feet. |
|  | (viii) Whether it is having the provision for manual pulling bars. |
| 9 | Whether the Pump and engine shall covered with proper Tin Sheet roof and is detachable. If not the reason for the deviation |
| 10 | Whether the following accessories will be supplied along with each unit:- (i)Suction hose- 6 mt (ii) Delivery hose: 15 mt (iii) Necessary Coupling and Collar with pump set |
| 11 | Whether you have attached the relevant valid proof of documents to the conformity of the technical specifications from the OEM of Engine and Pump Manufacturers. |
| 12 | Furnish your Warranty and Guarantee Certificate model for a period of 2 years along with after sales service support with the assurance to supply spare parts for a period of not less than 5 years. Please state in the event of placement of order on you, along with supply you will provide a Warranty and Guarantee Certificate from the date of acceptance of the items for not less than two years to the entire pump set with all accessories along with after sales service support with the assurance to supply spare parts for a period of not less than 5 years. (Please note that failing which the supply will not be accepted) |
| 13 | Please indicate the minimum delivery period you require for supply of the item from the date of placement of confirmed purchase order by us |
| 14 | Whether you have supplied similar item in the past 3 years to any Government Department/Organization. If so, attach a copy of PO, Invoice and Performance Certificate if any |

To be attached with Envelope A:

UNDERTAKING FOR EXECUTION OF CONTRACT

Tender for the Supply of Articles

(To be signed by the Tenderer)

To

The Governor of Tamil Nadu,

Represented by

The Director,

O/o the Director of Fire & Rescue Services,

No.17 Rukmani Lakshmipathy Road,

Egmore, Chennai – 600 008.

I, ............................................................  hereby contract and agree on the acceptance of this Tender to supply to the Government of Tamil Nadu (herein after referred to as “the Government”)  in accordance with the conditions of contract stated below, the articles specified in the schedule below of the quality of sort and at the rate of price therein specified and I hereby forward a sum of Rs.48,000/-(Rupees Forty eight thousands only) as Earnest Money Deposit to be returned to me if this tender is not accepted. If this tender should be accepted, I hereby undertake to execute within the date specified the department, a contract in accordance with the terms and conditions of contract aforesaid together with such further usual conditions as before the execution of the contract may be agreed upon between the successful Tender and the authority concerned in the Department.

Signature of the Tenderer With Date and Seal

To be attached with Envelope A:

FORM OF  Sales Tax/GST  VERIFICATION TO BE FURNISHED BY THE TENDERER

| Sl.no | Details required | Tenderer’s reply |
| --- | --- | --- |
| 1 | (a) Name and style in which the applicant is registered under GST |  |
|  | (b) GST Registration Number |  |
| 2 | Name and address of all companies’ firms or association or persons in which the applicant is interested in his individual or fiduciary capacity. |  |
| 3 | Total Annual Turn Over in the last three years 2017-18 2018-19 2019-20 |  |
| 5 | Particulars to Sales-Tax/GST paid for the following three years |  |
|  | Year Total T.O. Total Tax Total Tax Balance due Reason assessed assessed paid for balance Rs. Rs. Rs. Rs. 2017-18 2018-19 2019-20 |  |
| 6 | Whether returns were submitted and if so the authority with whom the returns were filed |  |
| 7 | Attach copy of proofs for payment of GST from 1.4.2019 to 31.3.2020. If not attached furnish the reasons for the same. |  |
| 8 | Whether any penal or proceeding for the recovery of sales-tax is pending. |  |

I declare that the above information is correct and complete to the best of my knowledge and belief.

Signature of the  Tenderer with seal

Date:

- CONDITIONS TO BE INCORPORATED IN THE AGREEMENT TOBE MADE WITH THE  SUCCESSFUL TENDERER

1.	This contract is to last for one year certain from its date.  But in the event of any breach of agreement at any time on the part of the contractor, the contract shall be terminated by the Director of Fire and Rescue Services, Chennai on behalf of the Governor of Tamilnadu upon giving fifteen days’ notice to the contractor.

2.	The articles to be supplied under this contract are to be of the quality or sort above mentioned and in every respect equal and answerable to the patterns or submitted during evaluation and such as the Director or any other duly authorised by him shall approve.

3.	The articles are to be delivered free of charge at the contractor’s risk in such quantities or number at such times and in such manner as the Director of Fire and Rescue Services, Chennai or anyone duly authorised by him shall from time to time order.

4.   Rejected articles shall be removed by and at the expense of the contractor within seven days after notice shall have been given him of the rejection.  If not so removed, the Director of Fire & Rescue Services, Chennai may cause the articles to be removed and charge the contractor with all expenses incurred in such removal.

5.	In case of failure by the contractor to deliver articles demanded from him within the period limited for delivery or in case of articles delivered by him not being the stipulated quality, sort, weight or measure or in case of articles being delivered without a correct invoice in triplicate, the Director of Fire & Rescue Services, Chennai or anyone duly authorised by him shall have power to reject any such articles and to purchase others  instead of  any articles so rejected or not delivered unless the contractor shall himself forthwith supply orders that shall be sufficient and satisfactory and any excess cost so incurred  by the Government over the contract price together with all charges and expenses attending the purchase shall be recoverable by the Government from the contactor.

6.	In case of failure to complete the supplies within the date of delivery specified in terms of the contract placed on the contractor the difference between his offer and the next selected offer shall be recoverable by the Government from the contractor.

7.	The contract or any part, share or interest in it is not to be transferred or assigned by the contractor directly or indirectly to any person or persons whomsoever without the written consent of the Director of Fire & Rescue Services, Chennai.

8.	The contractor shall make his own arrangements for obtaining import licences in respect of articles tendered for supply under this contract from the authorities concerned and in no case will his applications in this regard be forwarded.

9.	With every delivery of articles under the contract, the contractor should send invoices or bills in triplicate, which after verification will be passed for payment.

10.	The Government hereby agree that during the term fixed by this contract, and except as herein provided Government shall not purchase from any persons other than the contractor or from any Company or Corporation all or any quantities of the goods or materials agreed to be supplied by the contractor.

11.	Nothing herein contained shall prevent the Director of Fire and Rescue Services, Chennai from at any time requiring the contractor to supply and delivery any larger number of any one or more of the said articles than the number of the same mentioned in the said schedule and in any such case and so often as the same shall happen, the contractor shall and will supply and deliver as aforesaid such additional number of all or any of the said articles subject to the several provisions herein contained as shall be required by him and nothing herein contained shall render it obligatory on the Director of Fire and Rescue  Services, Chennai to take from the contractor the whole or any of the said articles and the contractor shall supply and deliver under this contract only such of the said articles as shall from time to time be required by or on behalf of the Director of Fire & Rescue Services, Chennai.

12.	Any notice to the contractor shall deemed to be sufficiently served if given or left in writing at his usual or last known place of abode or business.

13.	The  contractor shall furnish money security for the due fulfillment of the contract equivalent to                      5 percent of the total value of the supplies contracted for.  This security may be in the form of Cash or Demand draft or Bankers’ cheque or specified small savings instruments or where the procuring entity deems fit, irrevocable bank guarantee in a prescribed form.

14.	Upon the complete fulfillment of this contract by the contractor to the satisfaction of the Government or any officer duly authorised by them, the security furnished by the contractor shall be returned to him, less the amount if any due by the contractor to the Government

-0-

OTHER GENERAL TERMS AND CONDITIONS FOR THE TENDER FOR THE SUPPLY OF THE TENDERED ITEMS TO FIRE AND RESCUE SERVICES DEPARTMENT.

Tender Form :

- The Tender schedule is not transferable and only the tenderer to whom it is officially issued by the Fire and Rescue Services Department should use it.

- The Vendors who have downloaded the Tender documents from the Departmental website must intimate the same through the following email address : ddhq.tnfrs@gov.inasupt.tnfrs@gov.in so that any changes can be intimated.  Otherwise, it will be considered that the vendor is doing it at his own risk.

- Only the original tender document supplied by this Office or the tender documents which have downloaded from the department’s website should be used and it should be resubmitted in full shape without detaching any page from it duly signed on each page for having noted the contents of the tender document.  Xerox copies or copies typed on paper will not be accepted and the offer will be rejected.

- Incomplete tender documents will be rejected.

- When the tender is made by an individual, it shall be signed with his name and address and in case of partnership firm it shall be signed by one of the Partners empowered to submit tenders on behalf of the partnership as contemplated.            If it is made by a Company or Corporation it shall be signed by an officer duly authorised for the purpose.  In all cases, the status of the tenderer, whether a Proprietorship, Partnership, Company or Corporation should be furnished in the covering letter with full address of the tenderer’s name, name of the  partners, Directors etc.  The Tenderer should also furnish such particulars / evidence as may be required by the competent authority in this Department before execution of the agreement.

- If any covering letter accompanying the tender document is in the tenderers letter head form, all terms and conditions printed therein should be scored out and duly authenticated.  It should be distinctly understood that such printed terms and conditions in the letter head will not have any binding on this Department and those terms and conditions quoted in the tender document only will be considered.

- No erasers, interpolations, or alterations will be allowed except when initialled by the tenderer.

- The vendor if he wishes, may apart from the answers to the questionnaire enclose brochures and leaflets.

Earnest Money Deposit:

- (a) Earnest money deposit should be paid along with tender by way of Bankers cheque or DD in favour of the Director of Fire & Rescue Services Department, Chennai should be compulsorily appended with the tender document as indicated in the Top sheet of the tender document.  Specified small savings instruments or  bank guarantee from a Nationalized Bank will also be accepted.  Personal / Company cheques will not be accepted.

- Any Tender submitted without EMD will be summarily rejected.

- If exemption from EMD is sought, proof of exemption from payment of EMD from competent authority duly indicating the eligibility for the item mentioned in the tender document along with an undertaking in lieu of EMD should be produced along with sealed tenders.

- In case of unsuccessful tenderers, their Earnest Money Deposit will be returned to them in due course soon after the final decision is taken on the tenders by the department.  The Earnest Money of unsuccessful tenderers outside Tamil Nadu State will, however, be returned by money order or by DD and the money order commission or DD Commission will be deducted from the amount refundable.  The Earnest Money Deposit will not bear any interest.

Prices : Details to be furnished and conditions :

- (a) Rates should be shown distinctly in words as well as figures.

(b) Prices quoted should include the cost of all accessories essential to make the      equipment/article fully functional.

(c) The price bid should be furnished as mentioned in the “Important instructions       to the Vendor” given in the tender document.

(d) If a foreign vendor is willing to participate in the tender directly, he should         furnish his offer as mentioned in the “Important instructions to the Vendor”       given in the tender document.

(e) Further, the tenderer shall agree to extend the validity of the tender without       altering the substance and prices of their bid for further periods, if any,       required by the purchaser.

(f) No charges other than those mentioned in the supply order will be paid under      any circumstances.

Demonstration of equipment and Evaluation :

- (a) The evaluation of tenders will be made as per “Criteria for evaluation of       tenders’ given in the tender document.

(b) The Tenderer should produce the equipment/materials which he has quoted       in the tender document for demonstration before the evaluation committee on       the date fixed for production.  The tender will rejected if the article is not       produced for demonstration and Earnest Money Deposit is liable to be      forfeited in the event of such failure.

(c) Each sample produced for demonstration must have a label attached to it,       showing clearly the name fo the tenderer and the country of manufacture.

# Warranty

12 (a)	The warranty period shall be as may be stipulated for the article concerned from the date of supply.

(b) The warranty shall cover defects in materials or bad workmanship under  normal use and service for the period of warranty notwithstanding the fact that the material were inspected and approved by inspecting officers.

# Acceptance of tender

13 (a) The lowest tender will not necessarily be accepted.

(b) Notification of acceptance of tender by the Department shall be deemed to result in and constitute a valid and considered contract binding on the tenderer.  If the tenderer withdraws  his / her tender after acceptance by the Department, the EMD shall be forfeited.

Release of Purchase Order.

14.  The contractor should examine carefully the purchase order immediately on receipt and bring to the notice of the indenting officer within five days of receipt of purchase order and discrepancy with regard to the quantity ordered, specifications, packing, etc., for prompt rectification.  The letter should be sent by registered post Acknowledgement due.  Meanwhile, supply of the materials, which are cleared in all respects for despatch and acceptance by the consignees shall be arranged by the date mutually, agreed upon and should not be held up for any reason whatsoever.

# Security Deposit

15(a)	Security Deposit equivalent to 5 percent of the total value of the supplies contracted for will have to be furnished by the successful tenderer.   This security may be in the form of Cash or Demand draft or Bankers’ cheque or specified small savings instruments or where the procuring entity deems fit, irrevocable bank guarantee in a prescribed form.    This is liable to be forfeited either in full or in part for any breach of conditions of contract or default on the part of the contractor.

(b)If the successful tenderer fails to  remit the Security Deposit and execute the agreement within the period specified the Earnest Money Deposit will be forfeited  The security deposit will be refunded only upon satisfactory fulfillment of the contract after completion of supply of the entire materials ordered and  the same can be adjusted as against furnishing of performance guarantee after supply.

(c)  Security Deposit paid by the successful tenderer will not bear any interest.

Agreement

16 (a)	The successful tenderer should execute an agreement in non-judicial stamp paper, having a face value of Rs.100/- or any other value intimated in the provisional order within the date specified therein in the Form, which can be seen at the Office of the Director of Fire & Rescue Services, Chennai, for the due fulfilment of the contract.  The Stamp duty on the agreement shall be borne by the successful tenderer.

(b) On their executing the agreement, the Earnest Money will be returned to them.  In case firms outside Tamil Nadu State the EMD will be returned by money order or by DD and the money order commission or DD commission will be deducted from the amount refundable

# Delivery

17 (a)The rates accepted will be for delivery at such destinations as indicated in the tender document or in subsequent purchase order.

(b)The delivery period should be mentioned by the Tenderers in their offers.  However, the maximum time limit for supply of the goods will be fixed by the Director while executing the agreement with the successful tenderer. The supplier shall reckon the delivery period from the date of receipt of the purchase order.  The date of delivery as per postal acknowledgement due in the case of purchase order sent by post or the date of delivery if delivered in person or through special messenger shall be deemed to be the date of receipt of the purchase ordered.

(c )Delivery period is inclusive of pre-delivery inspection.  The date if delivery of materials in good condition to the consignees shall be the date of supply.  The rate of progress indicated in the purchase order should be maintained.  The materials should be delivered to the consignees as per the purchase order placed.

Acceptance of materials by the consignee:-

18. (a) If on examination of the items supplied, any portion of the supplied materials / equipment is found to be damaged or substandard or not fully in accordance with the relevant specifications, the whole supply  shall be rejected irrespective of the fact that this material was cleared under pre-delivery inspection.  The materials / equipment should strictly conform to the specifications given in the tender conditions.  In case of doubt whether the materials conform to the specifications or not, the decision of the consignee shall be final.  The consignee has right to reject the equipment found not conforming to the specifications and they should be replaced within seven days at the cost of the supplier.

(b) The item/items supplied by the successful bidder shall clearly indicate in the form of a permanent label or in some other indelible form such details as batch no. Serial No. Year of manufacture, name of the manufacturer etc to authenticate that the given item has been actually manufactured by the said manufacturer.

# Penalty: -

19 (a) Where their supply is not completed within the delivery schedule, without prejudice to the right of the Department to cancel undelivered portion of the purchase order, extension of time may, if so required by the contractor may  be granted at the discretion of this Department.  Such extension of time will entail recovery of penalty from the contractor at one percent per week, on the value of the undelivered quantities subject to a maximum of five percent of the value of the undelivered quantity.  However, the Director may waive the penalty on valid reasons as per his discretion.

(b)The officer authorised by this Department will have the right to cancel the purchase order and to recover from the contractor liquidated damages at 2% of the value of the undelivered quantity or the extra financial commitment to this Department on the purchase of the balance quantity, whichever is higher besides forfeiting the security deposit.

Performance guarantee

20. After successful completion of the items, 10 percent of the   payment amount will be retained during the warranty period as performance guarantee.  Alternatively, if the tenderer gives an irrecoverable Bank Guarantee in lieu of the balance 10 percent, the department reserves the right to accept the same. If the warranty period exceeds            2 years, the minimum period for which performance guarantee to be given and the alternative method to ensure the warranty period exceeding 2 years will be decided during the negotiation with the successful tenderer.  On receipt of Performance Guarantee the Security Deposit paid will be refunded/discharged.

Payment:

21.On successful completion of supply to the satisfaction of the Fire & Rescue Services Department and on receipt of the invoice bill in triplicate, 100% payment will be settled immediately.  If the tenderer is from abroad, payment terms for imports shall be based on standard terms of international trade and the payment will be effected through irrecoverable letters of credit drawn on banks as per the rate fixed as per negotiation.

Others:

22.	The tenderer should furnish details of orders executed for Government Departments / Departments / autonomous boards etc., and details of orders on hand or pending execution.  Certificates in proof of these should also be furnished.

23.	The Director of Fire & Rescue Services Department, Chennai, acting on behalf of the Governor of Tamil Nadu or any other authority empowered in this matter shall have the right of rejecting any tender without assigning any reason for doing so.

24.	The proposed quantity to be procured in respect of each item is mentioned in the tender document in relevant page.   However, the Director of Fire & Rescue Services Department, Chennai or any other authority empowered shall have the right or requiring a successful tenderer to supply a greater number or reduce the number than the number or quantity mentioned in the schedule.

25. Tenders will be liable to rejection for the following reasons apart from any other    reasons mentioned anywhere else in this document.

  - If the country of manufacture and of the origin of material used in manufacture of articles is not noted in the tender.

  - If the tender is not in the form supplied by this Office or downloaded from the departmental website.

  - If the offer is not as per the specifications mentioned in this tender document.

  - If samples of / models of articles quoted are not submitted as and when required for technical evaluation test.

  - If the tender is not accompanied by the receipt of Earnest Money.

  - If the tenderer enters any restriction on other conditions in his tender.

  - If the tenderer enters one rate in figures and another in words and declines to abide by the lower of the two.

  - If the tenderer alters the period of supply or expunges any clause in the form of tender, and

  - If the tender is presented without signature.

# Reservation of rights

26.	The authority competent reserves the rights:-

(1) The Tender Inviting Authority may extend the last date and time for receiving tenders after giving adequate notice to all intending tenderers in cases where:-

- the publication of the tender notice has been delayed

- the communication of changes, in the tender documents to the prospective tenderers took time

- any of the tenderers requested clarifications communication of which took time to all the tenderers and

- any other reasonable grounds exist, for such extension which shall be recorded in writing by the Tender Inviting Authority.

(2) If at any stage, a technical flaw is noticed in following the procedures, the procuring entity will take appropriate decisions to ensure that the overall objective of procurement is not defeated.

(3) After negotiation with the tenderer and before passing the order accepting a tender, if the Tender Accepting Authority decides that the price quoted by such tenderer is higher by the percentage as may be prescribed over the schedule of rates or prevailing market rates, the tender shall be rejected.

(4) The Tender Accepting Authority before passing the order accepting a tender, may also reject all the tenders for the reasons such as changes in the scope of procurement, lack of anticipated financial resources, court orders, accidents or calamities and other unforeseen circumstances.

(5) The purchaser reserves the right to:-

  - vary the quantity finally ordered to the extent of 25% indicated in the Tender document.

  - To split the tender quantity and place orders on one or more than one firm to meet the delivery requirements.

  - Recover losses, if any, sustained by this Department, from the supplier who pleads his inability to supply and backs out of his obligation after award of contract. The EMD and the Security Deposit paid shall be forfeited.

  - To cancel the orders for not keeping up the delivery schedule.

(v)    To award contract to one or more tenderers in respect of each item covered by the tender.

(vi)     To reject any or all the tenders without assigning any reasons therefor.

(vii)    To relax or waive or modify at his discretion any of the condition /

specification in the interest of the Department.

(viii)  The decision of the tender accepting authority  in this regard shall be   final,  conclusive and binding on the supplier.

# Certificates and Details to be furnished

27.	GST Registration and PAN Registration copies duly self attested should also be  with the tender offer document.

28.  The following certificates may also attached along with offer documents duly self attested

- Copy of Registration under Companies Act

ii.    Copy of Registration under Factories if any

- Copy of Valid NSIC Registration Certificate, if registered.

- Copy of    Valid SSI Registration Certificate, if registered.

iii.     Copy of  Valid UAM and Udyam Registration if registered as MSE

iii.     Copy of  Valid ISO 9001 Registration if any.

## CERTIFICATE BY THE TENDERER

I / we have gone through the terms and conditions and will abide by them as laid down above and in other sections of this Tender document.

I / We hereby declare that the particulars furnished by us in this offer are true to the best of my / our knowledge and we understand accept that, if at any stage the information furnished are found to be incorrect or false, we are liable for disqualification from this tender and also liable for any penal action that may arise due to the above.

Signature of the Tenderer

with  date and Seal.

| PRICE BID FOR SUPPLY OF “Heavy Duty Dewatering Pumps” ( Note: To be furnished in Envelope B) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S.No | i) Description of article ii) Make and Model iii)capacity iv) Country or origin of the article or components (Note:Separate price bid should be given for each make/model if more than one make/model of any of the item) | Basic price (In case if the tenderer is from abroad, the prices shall be quoted either in U.S.Dollars, Pounds, Euro or any other freely convertible currency) | GST | Other taxes,levies, charges including Customs duty, Excise duty and transportation charges etc. (specify the type of tax/charge and the amount for each such item) | Total including GST and levies and any other charges | Quantity as per tender | Grand Total for entire quantity including GST, levies and any other | Please mention if any discount is offered | Other details (FOR terms, Payment terms, Validity and Delivery Schedule should be furnished in this format) |

Note:  Please answer the questionnaire:

(i) Whether you are quoting concessional sales tax? if so, mention authentication for the same.

(ii) If the authentication mentioned by you is not acceptable one, what will be the tax component to be taken into account                                        in evaluating the price bids?

Signature of the Tenderer with seal